## PSR PSALM Edit (2)
MINDANAO GENERATION
(PSALM PORTFOLIO)
FOR : | MR. LARRY I. SABELLINA |  |  |  |  | MR. DENNIS EDWARD A. DELA SERNA |  | MR. ARNOLD C. FRANCISCO
| VP, Mindanao Generation |  |  |  |  | President and CEO, PSALM |  | VP - PAMG, PSALM
PLANT STATUS REPORT
as of 0800H Friday, 06 February 2026
PLANT NAME | Rated Capacity (MW) | Nominated | Available Capacity (MW) |  | Lake Lanao Projected Ave. Outflow | Load at 0800H | REMARKS
Capability
AGUS 1 | 80 | 0 | 80 | 0 |  | 52000 | Lake Lanao Elevation is 701.50 m.a.s.l.
unit 1 | 40 | 0 | 40 |  |  | 25500 | Forced outage: 1.0h
unit 2 | 40 | 0 | 40 |  |  | 26500 | Forced outage: 1.0h
AGUS 2 | 180 | 180 | 0 | 0 |  | 0 | Lake Lanao Elevation is 701.50 m.a.s.l.
unit 1 | 60 | 60 | 0 |  |  | 0 | No data
unit 2 | 60 | 60 | 0 |  |  | 0 | No data
unit 3 | 60 | 60 | 0 |  |  | 0 | No data
AGUS 4 | 158.1 | 105.4 | 0 | 0 |  | 0 | Lake Lanao Elevation is 701.50 m.a.s.l.
unit 1 | 52.7 | 0 | 0 |  |  | 0 | No data
unit 2 | 52.7 | 52.7 | 0 |  |  | 0 | No data
unit 3 | 52.7 | 52.7 | 0 |  |  | 0 | No data
AGUS 5 | 55 | 55 | 0 | 0 |  | 0 | Lake Lanao Elevation is 701.50 m.a.s.l.
unit 1 | 27.5 | 27.5 | 0 |  |  | 0 | No data
unit 2 | 27.5 | 27.5 | 0 |  |  | 0 | No data
AGUS 6 | 219 | 165 | 0 | 0 |  | 0 | Lake Lanao Elevation is 701.50 m.a.s.l.
unit 1 | 34.5 | 20 | 0 |  |  | 0 | No data
unit 2 | 34.5 | 21 | 0 |  |  | 0 | No data
unit 3 | 50 | 42 | 0 |  |  | 0 | No data
unit 4 | 50 | 38 | 0 |  |  | 0 | No data
unit 5 | 50 | 44 | 0 |  |  | 0 | No data
AGUS 7 | 54 | 54 | 0 | 0 |  | 0 | Lake Lanao Elevation is 701.50 m.a.s.l.
unit 1 | 27 | 27 | 0 |  |  | 0 | No data
unit 2 | 27 | 27 | 0 |  |  | 0 | No data
TOTAL AGUS
PULANGI IV | 255 | 215 | 0 | 0 |  | 0 | Reservoir Elevation is 290.00 m.a.s.l.
unit 1 | 85 | 75 | 0 |  |  | 0 | No data
unit 2 | 85 | 70 | 0 |  |  | 0 | No data
unit 3 | 85 | 70 | 0 |  |  | 0 | No data
TOTAL HYDRO
Agus-Pulangi Forecasted Load @ 6pm, Feb 06, 2026 : Agus = 500.8 MW & Pulangui IV = 150.0 MW, Total Load: 650.8 MW
MCFPP (STEAG), unit 1 | 116 | 105 | 105 | 61.5 |  |  | Normal Operation
MCFPP (STEAG), unit 2 | 116 | 105 | 105 | 62.6 |  |  | Normal Operation
TOTAL IPP | 232 | 210 | 210 | 124.1
TOTAL NPC-PSALM | 1,233.10 | 1,021.3 | 857.00 | 759.59
| NPC-PSALM Capacity Mix | [5 empty] | MinGen Forecasted Load Share (MW), @6pm Today
Hydro | 811.31
Coal Fired Thermal | 210
[5 empty] | AGUS 1 | 60
[5 empty] | AGUS 2 | 120
[5 empty] | AGUS 4 | 96
[5 empty] | AGUS 5 | 40
[5 empty] | AGUS 6 | 144.8
[5 empty] | AGUS 7 | 40
[5 empty] | PULANGI IV | 150
■ Hydro ■ Coal Fired Thermal
Note:
1. Dependable Capacity (DC) is the maximum capacity, modified for ambient limitations for a specific period of time, such as month or a season.
2. Available Capacity (AC) is the dependable capacity, modified for equipment limitations for any time.
3. The usual occurrence of Peak is at 1200H.
4. AGUS 5 HEP gate no. 2 clogged at 0.10m for Nawlach Pulp Inc. (NPI) plant water use.
Prepared by: | [5 empty] | Checked and Reviewed by: |  | Approved by:
DRB CAIRO | [5 empty] | JMM MATA |  | DB ESMADE, JR.
Prin. Engr. A, GPD | [5 empty] | Manager, GPD |  | Dept. Manager, OPD